## files
Id | folderPath | prefix | dateFormat | suffix | fileType | headerSkip | footerSkip | timeColumn | timeFormat
volt | \\10.2.100.51\scada\Reports\volttemp | VOLTTEMP_ | %d_%m_%Y | .csv | csv | 2 | 7 | 1 | %d-%m-%Y %H:%M:%S
ict | \\10.2.100.51\scada\Reports\ICT | ICT_REPORT_Scheduled_NEW_ | %d_%m_%Y | .csv | csv | 2 | 7 | 1 | %d-%m-%Y %H:%M:%S

## file_meas_info
fileId | columnNumber | tag
volt | 2 | KSTPS 4B1 KV
volt | 3 | VSTPS 4B1 KV
volt | 4 | STNA4 4B1 KV
volt | 5 | JBLPR 4B1 KV
volt | 6 | ITRSI 4B1 KV
volt | 7 | KHNDW 4B1 KV
volt | 8 | BHDRV 4B1 KV
volt | 9 | RAIPR 4B1 KV
volt | 10 | JHNOR 4B1 KV
volt | 11 | MPUSA 4B1 KV
volt | 12 | DGHAM 4B1 KV
volt | 13 | STP4 4B1 KV
volt | 14 | INDR 4B1 KV
volt | 15 | NAG4 4B1 KV
volt | 16 | BHP4 4B1 KV
volt | 17 | BIN4 4B1 KV
volt | 18 | KORAD 4_B1 KV
volt | 19 | BHSW4 4_B2 KV
volt | 20 | BBLSR 4_B2 KV
volt | 21 | PADG4 4_B1 KV
volt | 22 | KALW4 4_B1 KV
volt | 23 | KARGR 4_B1 KV
volt | 24 | LONKD 4_B1 KV
volt | 25 | KOYNA 4_B1 KV
volt | 26 | KOYN4 4_B1 KV
volt | 27 | KARD4 4_B1 KV
volt | 28 | KLPR4 4_B1 KV
volt | 29 | PARL2 4_B1 KV
volt | 30 | CHDPR 4_B1 KV
volt | 31 | DHUL4 4_B1 KV
volt | 32 | SLPR4 4_B1 KV
volt | 33 | ARBD4 4_B1 KV
volt | 34 | ASOJ 4B1 KV
volt | 35 | CHOR 4B1 KV
volt | 36 | JETP 4B1 KV
volt | 37 | WTPS 4B1 KV
volt | 38 | SOJA 4B1 KV
volt | 39 | UKTH 4B1 KV
volt | 40 | CLPI 4B1 KV
volt | 41 | KSOR 4B1 KV
volt | 42 | KNSR 4B1 KV
volt | 43 | BHIL4 4B1 KV
volt | 44 | KRBW4 4B1 KV
volt | 45 | GWALR 4B1 KV
volt | 46 | NAG4 4B1 KV_1
volt | 47 | RAJGH 4B1 KV
volt | 48 | WARDH 4B1 KV
volt | 49 | SEON7 7B1 KV
volt | 50 | SIPAT 7B1 KV
volt | 51 | AKOL4 4B1 KV
volt | 52 | DAMOH 4B1 KV
volt | 53 | SGTP 4B1 KV
volt | 54 | GWALR 7B1 KV
volt | 55 | BINA7 7B1 KV
volt | 56 | WARDH 7B1 KV
volt | 57 | BLSPR 7B1 KV
volt | 58 | INDOR 7B1 KV
volt | 59 | STNA7 7B1 KV
volt | 60 | SASAN 7B1 KV
volt | 61 | KTN4 4B1 KV
volt | 62 | BHTPR 4B1 KV
volt | 63 | RAIGR 4B1 KV
volt | 64 | RAIPR 4B1 KV_1
volt | 65 | JINDL 4B1 KV
volt | 66 | BACHU 4B1 KV
volt | 67 | CHOR 4B1 KV_1
volt | 68 | KNSR 4B1 KV_1
volt | 69 | AMRL 4B1 KVRY
volt | 70 | VRSN 4B1 KV
volt | 71 | VADI 4B1 KV
volt | 72 | PIRNA 4B1 KV
volt | 73 | RGPPL 4B1 KV
volt | 74 | SJLPR 4B1 KV
volt | 75 | TMNR7 7B1 KV
volt | 76 | KOTRA 7B1 KV
volt | 77 | DURG7 7B1 KV
volt | 78 | VAPI4 4B1 KV
volt | 79 | BOISR 4B1 KV
volt | 80 | KALA4 4B1 KV
volt | 81 | DAMAN 4B1 KV
volt | 82 | ARGBD 7B1 KV
volt | 83 | HAZRA 4B1 KV
volt | 84 | VADOD 7B1 KV
volt | 85 | JBPR7 7B1 KV
volt | 86 | SOLPR 7B1 KV
volt | 87 | TIRO7 7B1 KV
volt | 88 | AKOL7 7B1 KV
volt | 89 | KORD7 7B1 KV
volt | 90 | DHUL7 7B1 KV
volt | 91 | BHPL7 7B1 KV
volt | 92 | DRMGH 7B1 KV
volt | 93 | PUNE7 7B1 KV
volt | 94 | CHMPA 7B1 KV
volt | 95 | EKTN7 7B1 KV
volt | 96 | GDRWD 7B1 KV
volt | 97 | REWA4 4B1 KV
ict | 2 | RAIGARH_T1_MW
ict | 3 | RAIGARH_T1_MVAR
ict | 4 | RAIGARH_T2_MW
ict | 5 | RAIGARH_T2_MVAR
ict | 6 | JBLR_T1_MW
ict | 7 | JBLR_T1_MVAR
ict | 8 | JBLR_IC2_MW
ict | 9 | JBLR_IC2_MVAR
ict | 10 | STNA4_T1_MW
ict | 11 | STNA4_T1_MVAR
ict | 12 | STNA4_T2_MW
ict | 13 | STNA4_T2_MVAR
ict | 14 | RPR_T1_MW
ict | 15 | RPR_T1_MVAR
ict | 16 | RPR_T2_MW
ict | 17 | RPR_T2_MVAR
ict | 18 | RPR_T3_MW
ict | 19 | RPR_T3_MVAR
ict | 20 | MPUSA_T1_MW
ict | 21 | MPUSA_T1_MVAR
ict | 22 | MPUSA_T2_MW
ict | 23 | MPUSA_T2_MVAR
ict | 24 | VAPI_T1_MW
ict | 25 | VAPI_T1_MVAR
ict | 26 | VAPI_T2_MW
ict | 27 | VAPI_T2_MVAR
ict | 28 | BOISR_T1_MW
ict | 29 | BOISR_T1_MVAR
ict | 30 | BOISR_T2_MW
ict | 31 | BOISR_T2_MVAR
ict | 32 | KHNDW_T1_MW
ict | 33 | KHNDW_T1_MVAR
ict | 34 | KHNDW_T2_MW
ict | 35 | KHNDW_T2_MVAR
ict | 36 | KHNDW_T3_MW
ict | 37 | KHNDW_T3_MVAR
ict | 38 | SEON_765_T1_MW
ict | 39 | SEON_765_T1_MVAR
ict | 40 | SEON_765_T2_MW
ict | 41 | SEON_765_T2_MVAR
ict | 42 | SEON_765_T3_MW
ict | 43 | SEON_765_T3_MVAR
ict | 44 | SEON_400_T1_MW
ict | 45 | SEON_400_T1_MVAR
ict | 46 | SEON_400_T2_MW
ict | 47 | SEON_400_T2_MVAR
ict | 48 | SEON_400_T3_MW
ict | 49 | SEON_400_T3_MVAR
ict | 50 | BHTPR_T1_MW
ict | 51 | BHTPR_T1_MVAR
ict | 52 | BHTPR_T2_MW
ict | 53 | BHTPR_T2_MVAR
ict | 54 | RJGH_T1_MW
ict | 55 | RJGH_T1_MVAR
ict | 56 | RJGH_T2_MW
ict | 57 | RJGH_T2_MVAR
ict | 58 | GWAL4_T1_MW
ict | 59 | GWAL4_T1_MVAR
ict | 60 | GWAL4_T2_MW
ict | 61 | GWAL4_T2_MVAR
ict | 62 | DAMOH_T1_MW
ict | 63 | DAMOH_T1_MVAR
ict | 64 | DAMOH_T2_MW
ict | 65 | DAMOH_T2_MVAR
ict | 66 | ITRSI_T1_MW
ict | 67 | ITRSI_T1_MVAR
ict | 68 | DGHM_T1_MW
ict | 69 | DGHM_T1_MVAR
ict | 70 | DGHM_T2_MW
ict | 71 | DGHM_T2_MVAR
ict | 72 | WRDH4_T1_MW
ict | 73 | WRDH4_T1_MVAR
ict | 74 | WRDH4_T2_MW
ict | 75 | WRDH4_T2_MVAR
ict | 76 | BINA4_T1_MW
ict | 77 | BINA4_T1_MVAR
ict | 78 | PUNE4_T1_MW
ict | 79 | PUNE4_T1_MVAR
ict | 80 | PUNE4_T2_MW
ict | 81 | PUNE4_T2_MVAR
ict | 82 | PUNE4_T3_MW
ict | 83 | PUNE4_T3_MVAR
ict | 84 | SLPR4_T1_MW
ict | 85 | SLPR4_T1_MVAR
ict | 86 | SLPR4_T2_MW
ict | 87 | SLPR4_T2_MVAR
ict | 88 | PRNA_T1_MW
ict | 89 | PRNA_T1_MVAR
ict | 90 | PRNA_T2_MW
ict | 91 | PRNA_T2_MVAR
ict | 92 | WRDH7_T1_MW
ict | 93 | WRDH7_T1_MVAR
ict | 94 | BLPR7_T1_MW
ict | 95 | BLPR7_T1_MVAR
ict | 96 | BLPR7_T2_MW
ict | 97 | BLPR7_T2_MVAR
ict | 98 | BLPR7_T3_MW
ict | 99 | BLPR7_T3_MVAR
ict | 100 | SIP7_T1_MW
ict | 101 | SIP7_T1_MVAR
ict | 102 | SIP7_T2_MW
ict | 103 | SIP7_T2_MVAR
ict | 104 | VST_T1_MW
ict | 105 | VST_T1_MVAR
ict | 106 | VST_T2_MW
ict | 107 | VST_T2_MVAR
ict | 108 | JHNR_T1_MW
ict | 109 | JHNR_T1_MVAR
ict | 110 | JHNR_T2_MW
ict | 111 | JHNR_T2_MVAR
ict | 112 | RBPH_T1_MW
ict | 113 | RBPH_T1_MVAR
ict | 114 | RBPH_T2_MW
ict | 115 | RBPH_T2_MVAR
ict | 116 | ADAN_T1_MW
ict | 117 | ADAN_T1_MVAR
ict | 118 | ADAN_T2_MW
ict | 119 | ADAN_T2_MVAR
ict | 120 | JPL_T1_MW
ict | 121 | JPL_T1_MVAR
ict | 122 | JPL_T2_MW
ict | 123 | JPL_T2_MVAR
ict | 124 | NSPCL_T1_MW
ict | 125 | NSPCL_T1_MVAR
ict | 126 | NSPCL_T1_MW_1
ict | 127 | NSPCL_T1_MVAR_1
ict | 128 | BALCO_T1_MW
ict | 129 | BALCO_T1_MVAR
ict | 130 | BALCO_T2_MW
ict | 131 | BALCO_T2_MVAR
ict | 132 | BALCO_T3_MW
ict | 133 | BALCO_T3_MVAR
ict | 134 | ACB_T1_MW
ict | 135 | ACB_T1_MVAR
ict | 136 | PIR_GJ_T1_MW
ict | 137 | PIR_GJ_T1_MVAR
ict | 138 | PIR_GJ_T2_MW
ict | 139 | PIR_GJ_T2_MVAR
ict | 140 | PIR_GJ_T3_MW
ict | 141 | PIR_GJ_T3_MVAR
ict | 142 | BACH_T1_MW
ict | 143 | BACH_T1_MVAR
ict | 144 | BACH_T2_MW
ict | 145 | BACH_T2_MVAR
ict | 146 | SJLPR_T1_MW
ict | 147 | SJLPR_T1_MVAR
ict | 148 | SJLPR_T2_MW
ict | 149 | SJLPR_T2_MVAR
ict | 150 | UKTH_T1_MW
ict | 151 | UKTH_T1_MVAR
ict | 152 | ASOJ_T1_MW
ict | 153 | ASOJ_T1_MVAR
ict | 154 | ASOJ_T2_MW
ict | 155 | ASOJ_T2_MVAR
ict | 156 | WRPS_T1_MW
ict | 157 | WRPS_T1_MVAR
ict | 158 | SOJA 42_T1 MW
ict | 159 | SOJA 42_T1 MVAR
ict | 160 | SOJA 42_T2 MW
ict | 161 | SOJA 42_T2 MVAR
ict | 162 | JETP 26_T1 MW
ict | 163 | JETP 26_T1 MVAR
ict | 164 | JETP 26_T2 MW
ict | 165 | JETP 26_T2 MVAR
ict | 166 | CHOR 42_T1 MW
ict | 167 | CHOR 42_T1 MVAR
ict | 168 | CHOR 42_T2 MW
ict | 169 | CHOR 42_T2 MVAR
ict | 170 | HDLA 42_T1 MW
ict | 171 | HDLA 42_T1 MVAR
ict | 172 | HDLA 42_T2 MW
ict | 173 | HDLA 42_T2 MVAR
ict | 174 | CLPI 42_T1 MW
ict | 175 | CLPI 42_T1 MVAR
ict | 176 | KSOR 42_T1 MW
ict | 177 | KSOR 42_T1 MVAR
ict | 178 | KSOR 42_T2 MW
ict | 179 | KSOR 42_T2 MVAR
ict | 180 | AMRL 42_T1 MW
ict | 181 | AMRL 42_T1 MVAR
ict | 182 | AMRL 42_T2 MW
ict | 183 | AMRL 42_T2 MVAR
ict | 184 | KNSR 42_T1 MW
ict | 185 | KNSR 42_T1 MVAR
ict | 186 | KNSR 42_T2 MW
ict | 187 | KNSR 42_T2 MVAR
ict | 188 | VADI 42_T1 MW
ict | 189 | VADI 42_T1 MVAR
ict | 190 | VADI 42_T2 MW
ict | 191 | VADI 42_T2 MVAR
ict | 192 | KRBW4 42_T1 MW
ict | 193 | KRBW4 42_T1 MVAR
ict | 194 | BHIL4 42_T1 MW
ict | 195 | BHIL4 42_T1 MVAR
ict | 196 | BHIL4 42_T2 MW
ict | 197 | BHIL4 42_T2 MVAR
ict | 198 | BHIL4 42_T3 MW
ict | 199 | BHIL4 42_T3 MVAR
ict | 200 | STP4 42_T1 MW
ict | 201 | STP4 42_T1 MVAR
ict | 202 | INDR 42_T1 MW
ict | 203 | INDR 42_T1 MVAR
ict | 204 | INDR 42_T2 MW
ict | 205 | INDR 42_T2 MVAR
ict | 206 | INDR 42_T3 MW
ict | 207 | INDR 42_T3 MVAR
ict | 208 | INDR 42_T4 MW
ict | 209 | INDR 42_T4 MVAR
ict | 210 | BHPL7 74_T1 MW
ict | 211 | BHPL7 74_T1 MVAR
ict | 212 | BHPL7 74_T2 MW
ict | 213 | BHPL7 74_T2 MVAR
ict | 214 | NAG4 42_T1 MW
ict | 215 | NAG4 42_T1 MVAR
ict | 216 | NAG4 42_T2 MW
ict | 217 | NAG4 42_T2 MVAR
ict | 218 | NAG4 42_T3 MW
ict | 219 | NAG4 42_T3 MVAR
ict | 220 | BRSR 21_T1 MW
ict | 221 | BRSR 21_T1 MVAR
ict | 222 | KTN4 42_T1 MW
ict | 223 | KTN4 42_T1 MVAR
ict | 224 | BINA7 74_T1 MW
ict | 225 | BINA7 74_T1 MVAR
ict | 226 | BINA7 74_T2 MW
ict | 227 | BINA7 74_T2 MVAR
ict | 228 | KALW4 42_T1 MW
ict | 229 | KALW4 42_T1 MVAR
ict | 230 | KALW4 42_T2 MW
ict | 231 | KALW4 42_T2 MVAR
ict | 232 | KALW4 42_T3 MW
ict | 233 | KALW4 42_T3 MVAR
ict | 234 | BHSW4 41_T1 MW
ict | 235 | BHSW4 41_T1 MVAR
ict | 236 | BHSW4 41_T1 MW_1
ict | 237 | BHSW4 41_T2 MVAR
ict | 238 | BHSW4 42_T3 MW
ict | 239 | BHSW4 42_T3 MVAR
ict | 240 | SOLPR 42_T3 MW
ict | 241 | SOLPR 42_T3 MVAR
ict | 242 | KORAD 42_T1 MW
ict | 243 | KORAD 42_T1 MVAR
ict | 244 | KORAD 42_T2 MW
ict | 245 | KORAD 42_T2 MVAR
ict | 246 | NGOTN 42_T1 MW
ict | 247 | NGOTN 42_T1 MVAR
ict | 248 | NGOTN 42_T2 MW
ict | 249 | NGOTN 42_T2 MVAR
ict | 250 | NGOTN 42_T3 MW
ict | 251 | NGOTN 42_T3 MVAR
ict | 252 | JEJR4 42_T1 MW
ict | 253 | JEJR4 42_T1 MVAR
ict | 254 | JEJR4 42_T2 MW
ict | 255 | JEJR4 42_T2 MVAR
ict | 256 | CHDPR 42_T1 MW
ict | 257 | CHDPR 42_T1 MVAR
ict | 258 | CHDPR 42_T2 MW
ict | 259 | CHDPR 42_T2 MVAR
ict | 260 | PARLE 62_T1 MW
ict | 261 | PARLE 62_T1 MVAR
ict | 262 | PARLE 62_T2 MW
ict | 263 | PARLE 62_T2 MVAR
ict | 264 | KARD4 42_T1 MW
ict | 265 | KARD4 42_T1 MVAR
ict | 266 | KARD4 42_T2 MW
ict | 267 | KARD4 42_T2 MVAR
ict | 268 | KARD4 42_T3 MW
ict | 269 | KARD4 42_T3 MVAR
ict | 270 | LONKD 42_T1 MW
ict | 271 | LONKD 42_T1 MVAR
ict | 272 | LONKD 42_T2 MW
ict | 273 | LONKD 42_T2 MVAR
ict | 274 | LONKD 42_T3 MW
ict | 275 | LONKD 42_T3 MVAR
ict | 276 | ARGBD 42_T3 MW
ict | 277 | ARGBD 42_T3 MVAR
ict | 278 | ARGBD 74_T1 MW
ict | 279 | ARGBD 74_T1 MVAR
ict | 280 | ARGBD 74_T2 MW
ict | 281 | ARGBD 74_T2 MVAR
ict | 282 | PADG4 42_T1 MW
ict | 283 | PADG4 42_T1 MVAR
ict | 284 | PADG4 42_T2 MW
ict | 285 | PADG4 42_T2 MVAR
ict | 286 | PADG4 42_T3 MW
ict | 287 | PADG4 42_T3 MVAR
ict | 288 | KOYNA 42_T1 MW
ict | 289 | KOYNA 42_T1 MVAR
ict | 290 | DHUL7 74_T1 MW
ict | 291 | DHUL7 74_T1 MVAR
ict | 292 | DHUL7 74_T2 MW
ict | 293 | DHUL7 74_T2 MVAR
ict | 294 | BBLSR 42_T1 MW
ict | 295 | BBLSR 42_T1 MVA
ict | 296 | BBLSR 42_T1 MW_1
ict | 297 | BBLSR 42_T2 MVAR
ict | 298 | KLPR4 42_T1 MW
ict | 299 | KLPR4 42_T1 MVAR
ict | 300 | KLPR4 42_T2 MW
ict | 301 | KLPR4 42_T2 MVAR
ict | 302 | KLPR4 42_T3 MW
ict | 303 | KLPR4 42_T3 MVAR
ict | 304 | KARGR 42_T1 MW
ict | 305 | KARGR 42_T1 MVAR
ict | 306 | KARGR 42_T2 MW
ict | 307 | KARGR 42_T2 MVAR
ict | 308 | BALCO 42_T1 MW
ict | 309 | BALCO 42_T1 MVAR
ict | 310 | BALCO 42_T2 MW
ict | 311 | BALCO 42_T2 MVAR
ict | 312 | MAUDA 41_T1 MW
ict | 313 | MAUDA 41_T1 MVAR
ict | 314 | MAUDA 41_T2 MW
ict | 315 | MAUDA 41_T2 MVAR
ict | 316 | SASAN 74_T1 MW
ict | 317 | SASAN 74_T1 MVAR
ict | 318 | SASAN 74_T2 MW
ict | 319 | SASAN 74_T2 MVAR
ict | 320 | HAZRA T4_LD_42XF1 MW
ict | 321 | HAZRA T4_LD_42XF1 MVAR
ict | 322 | HAZRA T4_LD_42XF2 MW
ict | 323 | HAZRA T4_LD_42XF2 MVAR
ict | 324 | NAVSR 42_T1 MW
ict | 325 | NAVSR 42_T1 MVAR
ict | 326 | NAVSR 42_T2 MW
ict | 327 | NAVSR 42_T2 MVAR
ict | 328 | AKOL4 42_T1 MW
ict | 329 | AKOL4 42_T1 MVAR
ict | 330 | CHAKN 42_T1 MW
ict | 331 | CHAKN 42_T1 MVAR
ict | 332 | CHAKN 42_T2 MW
ict | 333 | CHAKN 42_T2 MVAR
ict | 334 | STNA7 74_T1 MW
ict | 335 | STNA7 74_T1 MVAR
ict | 336 | STNA7 74_T2 MW
ict | 337 | STNA7 74_T2 MVAR
ict | 338 | JETP 42_T3 MW
ict | 339 | JETP 42_T3 MVAR
ict | 340 | RAITA 42_T1 MW
ict | 341 | RAITA 42_T1 MVAR
ict | 342 | RAITA 42_T2 MW
ict | 343 | RAITA 42_T2 MVAR
ict | 344 | BINA7 74_T1 MW_1
ict | 345 | BINA7 74_T1 MVAR_1
ict | 346 | BINA7 74_T2 MW_1
ict | 347 | BINA7 74_T2 MVAR_1
ict | 348 | WARDH 74_T1 MW
ict | 349 | WARDH 74_T1 MVAR
ict | 350 | WARDH 74_T2 MW
ict | 351 | WARDH 74_T2 MVAR
ict | 352 | WARDH 74_T3 MW
ict | 353 | WARDH 74_T3 MVAR
ict | 354 | AKOL7 74_T1 MW
ict | 355 | AKOL7 74_T1 MVAR
ict | 356 | SLPR4 42_T1 MW
ict | 357 | SLPR4 42_T1 MVAR
ict | 358 | SLPR4 42_T2 MW
ict | 359 | SLPR4 42_T2 MVAR
ict | 360 | TIRO7 74_T1 MW
ict | 361 | TIRO7 74_T1 MVAR
ict | 362 | ARBD4 42_T1 MW
ict | 363 | ARBD4 42_T1 MVAR
ict | 364 | ARBD4 42_T2 MW
ict | 365 | ARBD4 42_T2 MVAR
ict | 366 | ARBD4 42_T3 MW
ict | 367 | ARBD4 42_T3 MVAR
ict | 368 | BHSW3 42_T1 MW
ict | 369 | BHSW3 42_T1 MVAR
ict | 370 | BHSW3 42_T2 MW
ict | 371 | BHSW3 42_T2 MVAR
ict | 372 | KALA4 42_T1 MW
ict | 373 | KALA4 42_T1 MVAR
ict | 374 | KALA4 42_T2 MW
ict | 375 | KALA4 42_T2 MVAR
ict | 376 | MPUSA 42_T3 MW
ict | 377 | MPUSA 42_T3 MVAR
ict | 378 | KORD7 74_T1 MW
ict | 379 | KORD7 74_T1 MVAR
ict | 380 | KORD7 74_T2 MW
ict | 381 | KORD7 74_T2 MVAR
ict | 382 | DAMAN 42_T1 MW
ict | 383 | DAMAN 42_T1 MVAR
ict | 384 | DAMAN 42_T2 MW
ict | 385 | DAMAN 42_T2 MVAR
ict | 386 | MNSR 42_T1 MW
ict | 387 | MNSR 42_T1 MVAR
ict | 388 | MNSR 42_T2 MW
ict | 389 | MNSR 42_T2 MVAR
ict | 390 | PUNE7 74_T1 MW
ict | 391 | PUNE7 74_T1 MVAR
ict | 392 | PUNE7 74_T1 OLTC
ict | 393 | PUNE7 74_T1 MVA
ict | 394 | PUNE7 74_T2 MW
ict | 395 | PUNE7 74_T2 MVAR
ict | 396 | AMRL 26_T3 MW
ict | 397 | AMRL 26_T3 MVAR
ict | 398 | NAVSR 42_T3 MW
ict | 399 | NAVSR 42_T3 MVAR
ict | 400 | BOISR 42_T3 MW
ict | 401 | BOISR 42_T3 MVAR
ict | 402 | VINDP 74_T1 MW
ict | 403 | VINDP 74_T1 MVAR
ict | 404 | VINDP 74_T2 MW
ict | 405 | VINDP 74_T2 MVAR
ict | 406 | BHPL7 74_T1 MW_1
ict | 407 | BHPL7 74_T1 MVAR_1
ict | 408 | BHPL7 74_T2 MW_1
ict | 409 | BHPL7 74_T2 MVAR_1
ict | 410 | DHUL7 74_T1 MW_1
ict | 411 | DHUL7 74_T1 MVAR_1
ict | 412 | DHUL7 74_T2 MW_1
ict | 413 | DHUL7 74_T2 MVAR_1
ict | 414 | VDDRA 74_T1 MW
ict | 415 | VDDRA 74_T1 MVAR
ict | 416 | VDDRA 74_T2 MW
ict | 417 | VDDRA 74_T2 MVAR
ict | 418 | VADI 42_T3 MW
ict | 419 | VADI 42_T3 MVAR
ict | 420 | KNSR 42_T3 MW
ict | 421 | KNSR 42_T3 MVAR
ict | 422 | HDLA 42_T1 MW_1
ict | 423 | HDLA 42_T1 MVAR_1
ict | 424 | JETP 42_T4 MW
ict | 425 | JETP 42_T4 MVAR
ict | 426 | ASOJ 42_T3 MW
ict | 427 | ASOJ 42_T3 MVAR
ict | 428 | SOLPR 74_T1 MW
ict | 429 | SOLPR 74_T1 MVAR
ict | 430 | SOLPR 74_T2 MW
ict | 431 | SOLPR 74_T2 MVAR
ict | 432 | GWALR 74_T1 MW
ict | 433 | GWALR 74_T1 MVAR
ict | 434 | GWALR 74_T2 MW
ict | 435 | GWALR 74_T2 MVAR
ict | 436 | VAPI4 42_T3 MW
ict | 437 | VAPI4 42_T3 MVAR
ict | 438 | BBLSR 42_T1 MW_2
ict | 439 | BBLSR 42_T1 MVAR
ict | 440 | ARGBD 42_T1 MW
ict | 441 | ARGBD 42_T1 MVAR
ict | 442 | ARGBD 42_T2 MW
ict | 443 | ARGBD 42_T2 MVAR
ict | 444 | BACHU 42_T3 MW
ict | 445 | BACHU 42_T3 MVAR
ict | 446 | BBLSR 42_T3 MW
ict | 447 | BBLSR 42_T3 MVAR
ict | 448 | BBLSR 42_T4 MW
ict | 449 | BBLSR 42_T4 MVAR
ict | 450 | DAMOH 42_T3 MW
ict | 451 | DAMOH 42_T3 MVAR
ict | 452 | GWALR 42_T3 MW
ict | 453 | GWALR 42_T3 MW_1
ict | 454 | GWALR 42_T3 MW_2
ict | 455 | GWALR 42_T3 MVAR
ict | 456 | KARGR 42_T3 MW
ict | 457 | KARGR 42_T3 MVAR
ict | 458 | KOYNA 42_T2 MW
ict | 459 | KOYNA 42_T2 MVAR
ict | 460 | KOYNA 42_T2 MW_1
ict | 461 | KOYNA 42_T2 MVAR_1
ict | 462 | KSOR 42_T3 MW
ict | 463 | KSOR 42_T3 MVAR
ict | 464 | KTN4 42_T2 MW
ict | 465 | KTN4 42_T2 MVAR
ict | 466 | MAUDA 42_T3 MW
ict | 467 | MAUDA 42_T3 MVAR
ict | 468 | NAG4 42_T4 MW
ict | 469 | NAG4 42_T4 MVAR
ict | 470 | PADG4 42_T4 MW
ict | 471 | PADG4 42_T4 MVAR
ict | 472 | PADG4 42_T5 MW
ict | 473 | PADG4 42_T5 MVAR
ict | 474 | SOLPR 42_T1 MW
ict | 475 | SOLPR 42_T1 MVAR
ict | 476 | SOLPR 42_T2 MW
ict | 477 | SOLPR 42_T2 MVAR
ict | 478 | VADI 42_T4 MW
ict | 479 | VADI 42_T4 MVAR
ict | 480 | VAPI4 42_T3 MW_1
ict | 481 | VAPI4 42_T3 MVAR_1
ict | 482 | VDDRA 74_T3 MW
ict | 483 | VDDRA 74_T3 MW_1
ict | 484 | VDDRA 74_T3 MW_2
ict | 485 | VDDRA 74_T3 MVAR
ict | 486 | VINDP 74_T3 MW
ict | 487 | VINDP 74_T3 MVAR
ict | 488 | WARDH 42_T3 MW
ict | 489 | WARDH 42_T3 MVAR